## Solar Net Meter
NET METERING
ASSUMPTIONS |  |  | YEAR |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
INCOME STATEMENT
Only change cells coloured like this. |  |  | REVENUE |  | 2828.0736 | 2870.2119 | 2912.9781 | 2956.3814 | 3000.4315 | 3045.1379 | 3090.5105 | 3136.5591 | 3183.2938 | 3230.7249 | 3278.8627 | 3327.7178 | 3377.3008 | 3427.6225 | 3478.6941 | 3530.5267 | 3583.1315 | 3636.5202 | 3690.7043 | 3745.6958
SYSTEM SIZE & CAPITAL COST |  |  | Insurance Expense |  | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16
System Design & Supply (kW DC) | 10
Capital Cost per WATT | 1.6 |  | ENERGY SAVINGS |  | 2812.0736 | 2854.2119 | 2896.9781 | 2940.3814 | 2984.4315 | 3029.1379 | 3074.5105 | 3120.5591 | 3167.2938 | 3214.7249 | 3262.8627 | 3311.7178 | 3361.3008 | 3411.6225 | 3462.6941 | 3514.5267 | 3567.1315 | 3620.5202 | 3674.7043 | 3729.6958
Capital Cost (not includiing tax) | 16000
Total Price of Electricity per kWhr | 0.22374 |  | PAYBACK | -16000 | 1: -13187.9264; 2: -10333.7145; 3: -7436.7364; 4: -4496.355; 5: -1511.9235; 6: 1517.2144; 7: 4591.7249
Wholesale Elec. Cost $/kW | 0.138
Elec. Delivery Cost $/kW | 0.06 |  | WHAT IS IT WORTH? (NPV) |  | 1: 26281.7078
Tax on Electricity | 13% |  | Interest Rate | 4% | bar: 1 to 7
Region (Toronto default, see below for alts) | 1264 |  | Pay off the system cost and reduce the value by the interest rate and you still have a value of |  | 7: 26281.7078
Solar Power Output (kWhr/yr) | 12640 |  | Increased value of home = |  | 1: 16000; 2: +; 3: 26281.7078; 4: =; 5: 42281.7078
Avg. House Use/yr of Electricity (kW) | 12000
Avg. House Cost of elec./yr | 2684.88 |  |  | ANTICIPATED AVERAGE ANNUAL SUNSHINE FOR TORONTO AREA (in kWh/m2/day)
Payback Period (yrs) | see when PAYBACK line turns positive
Component Warranties | As per each manufacturer |  |  | TORONTO | 4: YEARLY PV ENERGY GENERATED (fixed axis)
|  |  |  | Latitude | 2: 43.670 N; 4: Month; 5: Solar Radiation (kWh/m2/day); 6: AC Energy (kWh); 7: Energy Value ($)
|  |  |  | Longitude | 2: 79.630 W
OPERATING & MAINTENANCE |  |  |  | Elevation | 2: 173 m; 4: Jan; 5: 2.69; 6: 708.815; 7: 158.5903
Insurance | 0.1% |  |  | Weather Data | 2: CWEC; 4: Feb; 5: 3.51; 6: 835.38; 7: 186.9079
Annual Price increase (percentage ) | 2% |  |  |  | 4: Mar; 5: 3.98; 6: 1048.73; 7: 234.6429
Annual Degradation YOY (percentage ) | 0.5% |  |  | PV SYSTEM SPECS | 4: Apr; 5: 4.68; 6: 1193.4; 7: 267.0113
|  |  |  | DC Rating (kW) | 2: 10; 4: May; 5: 5.29; 6: 1393.915; 7: 311.8745
OPTIONAL DEBT PROVISION |  |  |  | DC to AC Derate Factor | 2: 0.85; 4: Jun; 5: 5.48; 6: 1397.4; 7: 312.6543
LTV (in the first year) | 65% |  |  | AC Rating | 2: 8.5; 4: Jul; 5: 5.51; 6: 1451.885; 7: 324.8447
Interest Rate on debt (percentage) | 4% |  |  | Array Type | 2: Fixed Tilt; 4: Aug; 5: 5.23; 6: 1378.105; 7: 308.3372
Amortization ( years ) | 18 |  |  | Array Tilt | 2: 30 degrees; 4: Sep; 5: 4.96; 6: 1264.8; 7: 282.9864
|  |  |  | Array Azimuth | 2: 180; 4: Oct; 5: 3.61; 6: 951.235; 7: 212.8293
Regional average yearly kKhr/yr produced from 1kW Solar System |  | Avg Price $/kW |  |  | 4: Nov; 5: 1.95; 6: 497.25; 7: 111.2547
GTA | 1264 | 0.138 |  | ENERGY PRICE | 4: Dec; 5: 1.97; 6: 519.095; 7: 116.1423
Winnipeg | 1426 | 0.078 |  | Energy Price | 2: 0.22374; 4: Annual Total; 5: 4.0717; 6: 12640; 7: 2828.0736
Regina | 1533 | 0.1395 |  |  | 4: Solar Radiation Source: PV Watts v1
Calgary | 1473 | 0.1341
Vancouver | 1093 | 0.079
Montreal | 1218 | 0.0706
Halifax | 1191 | 0.1603
St Johns | 1117 | 0.1134
Charlottetown | 1224 | 0.1524
source: National Electricity Prices averages
http://www.ippsa.com/IP_pdfs/IPPSA-Manning%20Centre%20Report.pdf
http://www.hydroquebec.com/publications/en/comparison_prices/pdf/comp_2014_en.pdf
Solar Radiation Source: PV Watts v1