## Sheet1
LED Retrofit Return on Investment
for Outdoor Lighting |  |  |  | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  |  |  | HPS | 2: Replace HPS on; 3: 4; 4: year replacement rotation
Cells in Green can be changed to recalculate output |  |  |  | Annualized Replacement schedule | 2000 | 510 | 520.2 | 530.604 | 541.2161 | 552.0404 | 563.0812 | 574.3428 | 585.8297 | 597.5463 | 609.4972 | 621.6872 | 634.1209
|  |  |  | Electricity Cost | 8322 | 8658.2088 | 8831.373 | 9008.0004 | 9188.1604 | 9371.9237 | 9559.3621 | 9750.5494 | 9945.5604 | 10144.4716 | 10347.361 | 10554.3082 | 10765.3944
| HPS | LED |  | Total Annual | 10322 | 9168.2088 | 9351.573 | 9538.6044 | 9729.3765 | 9923.9641 | 10122.4433 | 10324.8922 | 10531.39 | 10742.0178 | 10956.8582 | 11175.9954 | 11399.5153
| Costs | Costs |  | Total Cumulative | 10322 | 19490.2088 | 28841.7818 | 38380.3862 | 48109.7627 | 58033.7268 | 68156.1701 | 78481.0623 | 89012.4524 | 99754.4702 | 110711.3284 | 121887.3238 | 133286.8391
Number of lights | 10 | 10 |  | Interest Rate | bar: 1
Power/light (W) | 1200 | 400 |  | Cost Net Present Value | 1: 115865.9608
Cost/kW | 0.13 | 0.13
Delivery/kW | 0.06 | 0.06 |  | LED | 1: Replace HPS w/ LED
Cost/bulb ($) | 100 | 1500 |  | Cap Cost | 12900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating time (hr/day) | 10 | 10 |  | Electricity Cost | 2774 | 2886.0696 | 2943.791 | 3002.6668 | 3062.7201 | 3123.9746 | 3186.454 | 3250.1831 | 3315.1868 | 3381.4905 | 3449.1203 | 3518.1027 | 3588.4648
Labour Install Cost/Bulb ($) | 100 | 250 |  | Total Annual | 15674 | 2886.0696 | 2943.791 | 3002.6668 | 3062.7201 | 3123.9746 | 3186.454 | 3250.1831 | 3315.1868 | 3381.4905 | 3449.1203 | 3518.1027 | 3588.4648
Total Labour/Replacement Cost ($) | 2000 | 17500 |  | Total Cumulative | 15674 | 18560.0696 | 21503.8606 | 24506.5274 | 27569.2476 | 30693.2221 | 33879.6761 | 37129.8593 | 40445.0461 | 43826.5366 | 47275.6569 | 50793.7596 | 54382.2244
(minus) LED Incentive per light - see table below |  | 460 |  | Interest Rate | bar: 1
|  |  |  | Cost Net Present Value | 1: 48654.6667
Payback Period | 1.9046 | years |  | VALUE ADDED | 1: 67211.2941
Scroll down for further information
[8 empty] | Conversion | Table
|  |  |  | Ontario | 1: Rebate Table; 2: (Effective Jan. 2014)
| HPS | MH | LED |  | 4: LED(W); 5: HPS(W); 8: MH(W)
Typical Hours to replacement | 4000 | 10000 | 50000 |  | LED Wattage | Gov't Rebate |  | 100 | 250 | ~ | 300 | 150 | ~ | 200
Days to replacement | 400 | 1000 | 5000 |  | 30 Watt or less | $41 per fixture |  | 120 | 300 | ~ | 360 | 180 | ~ | 240
Years to replacement | 1.0959 | 2.7397 | 13.6986 |  | 30 to 60 Watt | $88 per fixture |  | 150 | 375 | ~ | 450 | 225 | ~ | 300
[5 empty] | 60 to 120 Watt | $126 per fixture |  | 180 | 450 | ~ | 540 | 270 | ~ | 360
[5 empty] | 120 to 200 Watt | $183 per fixture |  | 200 | 450 | ~ | 640 | 360 | ~ | 400
[5 empty] | 200 to 300 Watt | $120 per fixture |  | 300 | 640 | ~ | 800 | 460 | ~ | 600
[5 empty] | 530 Watt or less | $460 per fixture |  | 400 | 1000 | ~ | 1200 | 600 | ~ | 800
[8 empty] | 500 | 1250 | ~ | 1500 | 750 | ~ | 1000
[8 empty] | 600 | 1500 | ~ | 1800 | 900 | ~ | 1200
[8 empty] | LED= Light-Emitting Diode. | HPS= High Pressure Sodium | MH= Metal Halide